AGVG LAB TOOLS

Biology-First User and Methods Manual

How to choose, operate, tune, review, and interpret the Vidal-Gadea Lab analysis ecosystem

A living manual for C. elegans behavior, physiology, and morphology

| Audience | Worm scientists, students, and collaborators using the Lab Hub |
| --- | --- |
| Manual version | 1.0 |
| Software snapshot | Lab Hub installer v9; 24 registered tool entries |
| Prepared | July 19, 2026 |

Design principle: begin with the biological question, expose assumptions that vary with biology, and preserve evidence for human review.

# How to use this manual

Part I gets a new user from raw recording to reviewed result. Part II explains the shared scientific design of the ecosystem. Parts III-VII document every current Hub entry by category. Read the complete chapter for any tool before using its outputs as publication-grade measurements.

Living-document rule When a tool changes, update its aim, exposed controls, measurement definition, outputs, validation status, and failure modes in the same software release.

# Contents

Part I - Get running quickly

Part II - Shared scientific and computational principles

Part III - Motor output: locomotion and sensory-guided behavior

Part IV - Motor output: rhythmic programs

Part V - Physiology: calcium and cellular activity

Part VI - Anatomy and morphology

Part VII - Acquisition and utilities

Part VIII - Validation, statistics, troubleshooting, and maintenance

# Part I - Get running quickly

## First use on a lab computer

Run Setup_Lab_Tools.bat once on the computer.

Launch the ecosystem with Launch_Lab_Hub.bat.

Select the biological category and read the entry requirement shown beside the tool.

Probe unfamiliar movies before analysis; convert them when Fiji or a tracker needs a clean TIFF stack.

Enter acquisition metadata from the recording, never from a guess.

Review every flagged track, event, ROI, interval, or segmentation before accepting the result.

Keep raw data, reviewed outputs, metadata, ROI files, and the exact installer version together.

## The five questions to answer before choosing a tool

What is the biological unit: one worm, a population, one plate, one muscle, one neuron, or one egg?

Is identity through time required, or is an identity-free population state more defensible?

Is the desired quantity a posture, event, rate, trajectory, spatial distribution, fluorescence signal, or morphology?

Which acquisition properties are known: frame rate, exposure, spatial calibration, bit depth, channel identity, and orientation?

Which decisions require human biological judgment rather than a fixed algorithm?

## Fast tool-selection guide

| Question | Start with | Do not substitute |
| --- | --- | --- |
| One worm's signed bending and movement | Track one worm; then Kinematics analysis/browser | Population centroid tracking |
| One worm's swimming bouts | Single-worm swimming analysis | Population modality proposals without review |
| Many worms swimming/crawling/burrowing | Population swimming + modality review | One frequency threshold alone |
| Response to OP50 entry | Population basal slowing | Unpaired population averages |
| Plate orientation without reliable identity | Population orientation; then Combine orientation plates | Treating worms as independent N |
| Pumps, pBoc, or eggs | The matching rhythmic-program tool | Generic motion peaks without event review |
| Muscle calcium in moving animals | RGBCaMP extractor + analysis/browser | Raw intensity without QC and channel caveats |
| Single neuron plus body orientation | Neuron tracker or AFD_MTP | Whole-worm centroid as neuron position |
| Muscle structure | Myocyte or nonstriated morphology mode | One universal damage score |

## A standard analysis session

Preserve raw data as read-only and analyze a copy or a designated results folder.

Record biological metadata: strain, age, condition, temperature, assay geometry, and experimental unit.

Record acquisition metadata: FPS, scale, exposure, channel roles, bit depth, and compression.

Choose ROIs, intervals, orientation, and thresholds from visible biology, not to force an expected answer.

Run automated detection and inspect QC overlays.

Correct, relabel, or reject uncertain candidates; do not silently interpolate biological events.

Export reviewed tables and retain provenance.

Analyze at the correct inferential level: worm or plate, not frames, segments, or repeated events as independent N.

# Part II - Shared scientific and computational principles

## Built from the biology back

The ecosystem is not one generic computer-vision pipeline with different labels. Each tool begins with the biological feature to be captured, then chooses the minimal image evidence and human decisions needed to measure that feature. A pumping interval can be valid even when the rest of the movie is unusable. A plate-level orientation assay can be valid without maintaining worm identity. Basal slowing requires within-worm entry histories. These are biological distinctions, not interface preferences.

## Why controls are exposed

Frame rate and exposure determine which temporal events can be resolved.

Spatial calibration determines whether distances and velocities are physical units or pixels.

Object size, contrast, and tracking gates vary with magnification, illumination, strain, stage, and posture.

ROIs encode assay geometry or suppress known artifacts; they are saved because they change the analyzed population.

Before/after windows, buffers, and cadence limits encode a biological comparison and must remain auditable.

Orientation and tissue-mode choices define anatomical coordinates and cannot always be inferred safely.

Manual review exists where image evidence is ambiguous or biological identity matters.

## Automation proposes; review establishes the analyzed set

Experimental detectors should be understood as candidate generators. Orange, red, uncertain, collision, edge, short-coverage, saturation, and low-coherence states direct attention. They are not inconvenient records to delete. Reviewed outputs must remain linked to automated evidence and the original data.

## Calibration and provenance

| Item | Effect if wrong | Required practice |
| --- | --- | --- |
| FPS | Frequency, rates, event durations, and velocities are wrong | Use the acquisition setting or verified timestamps |
| Micrometers per pixel | Lengths, areas, and velocities are scaled incorrectly | Use a stage micrometer or explicit two-point calibration |
| Exposure | Fast motion may be blurred and temporal precision overstated | Record declared exposure and inspect blur |
| Bit depth/compression | Absolute fluorescence and fine morphology may be distorted | Prefer raw data; preserve source-depth warnings |
| Head-tail and dorsal-ventral orientation | Signs, regions, and directional propagation can reverse | Set orientation visibly and retain provenance |
| ROI/interval | The sampled population or time changes | Save geometry and reviewed bounds |

## QC is part of the measurement

Segmentation quality: the mask represents the intended animal, tissue, cell, or egg.

Identity quality: track continuity remains plausible across gaps and crossings.

Temporal coverage: the recording includes enough valid time for the claimed frequency or event rate.

Spatial coverage: the object is not clipped by the frame or excluded by an unrecorded ROI choice.

Biological visibility: the relevant structure is genuinely discernible to a trained observer.

Inferential independence: repeated frames, segments, encounters, and animals on one plate are not promoted to independent replicates.

# Part III - Motor output: locomotion and sensory-guided behavior

## Track one worm (crawl, swim, burrow)

Status: Ready

Biological aim: Create a signed, anatomically oriented time series of one visible worm's midline, posture, and movement.

Use it when: One animal can be followed at sufficient resolution and downstream segment-level kinematics are required.

### Biology-driven design decisions

Separate assay modes recognize that crawling, swimming, and burrowing differ in posture amplitude, speed, and expected resolution.

The user marks the head because anterior-posterior sign cannot be inferred reliably from a symmetric mask.

A user-drawn outline establishes animal size and constrains tracking; flagged frames remain correctable.

Signed curvature is preserved rather than reduced to unsigned bend magnitude.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Assay mode | Changes tracking and resolution expectations for crawl, swim, or burrow. |
| FPS, scale, exposure | Define temporal resolution, physical units, and blur limits. |
| Head click and outline | Anchor anatomical orientation, body size, and segmentation. |
| Manual frame fixes | Repair tracking failures without discarding the whole recording. |

### How the tool accomplishes the measurement

The tracker segments the chosen worm, orders a head-to-tail midline, and carries the mask and midline forward through the movie.

Frame-level QC identifies low-confidence masks or midlines. The reviewer can replace the head location and outline on flagged frames before export.

### Outputs and interpretation

Tracking CSV with time, centroid, midline, signed curvature, body geometry, and provenance.

Use the CSV as the input to Kinematics analysis or Single-worm swimming analysis.

### Known failure modes and cautions

Coils, self-contact, overlaps, clipping, low contrast, abrupt focus changes, and motion blur can break the midline.

An incorrect head assignment reverses anatomical position and directional signs.

A mode cannot recover spatial or temporal information absent from the recording.

### Special-case tuning

Correct only visibly wrong frames; do not redraw toward an expected waveform.

If the animal repeatedly leaves the field, shorten to a defensible interval.

Increase acquisition rate for high-frequency swimming; improve contrast before relaxing segmentation excessively.

## Kinematics extractor (Fiji)

Status: Ready; Fiji companion extractor

Biological aim: Provide a manually supervised Fiji route to an approved midline and kinematics CSV.

Use it when: The scientist prefers Fiji/ImageJ interaction or needs direct midline approval in a stack.

### Biology-driven design decisions

Manual midline approval is retained because anatomical errors propagate into every segment metric.

Extraction is separated from downstream biological summarization so raw measurements remain reusable.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Midline/outline approval | Defines the anatomical object used for segment measurements. |
| Stack and calibration | Determine time and physical scale. |
| Frame corrections | Allow biologically informed rescue of isolated failures. |

### How the tool accomplishes the measurement

The Fiji tool follows the worm through the stack, presents the midline for approval, and exports a structured CSV compatible with the Python analysis layer.

### Outputs and interpretation

Approved kinematics CSV and Fiji-side visual evidence.

### Known failure modes and cautions

Fiji version/plugin installation differences; incorrect calibration; ambiguous head-tail; coils and self-contact.

Manual extraction can introduce scorer variability; document the scorer and review standard.

### Special-case tuning

Use the same approval rubric across conditions and keep blinded scoring where possible.

## Kinematics analysis

Status: Ready

Biological aim: Convert an extracted single-worm time series into biologically interpretable body-wave, locomotion, foraging, and dampening measurements.

Use it when: A validated extractor CSV exists and the question concerns waveform, propagation, segment behavior, or locomotor output.

### Biology-driven design decisions

Analysis is downstream of extraction so measurement definitions can change without retracking.

Segment-level curvature is retained because posterior dampening and head foraging cannot be inferred from centroid speed.

QC-qualified intervals are summarized rather than treating all frames as equally valid.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Input CSV | Selects the recording and its embedded acquisition/QC metadata. |
| Analysis options exposed by launcher | Allow the scientist to choose outputs appropriate to the assay rather than computing unsupported claims. |

### How the tool accomplishes the measurement

The pipeline reads signed curvature and movement, constructs curvature kymographs, identifies body-wave descriptors, and produces locomotion, foraging, and posterior-dampening summaries.

### Outputs and interpretation

Summary tables, segment/timecourse tables, kymographs, head-swing traces, and dampening figures.

### Known failure modes and cautions

Poor extractor output; wrong head-tail orientation; missing FPS/scale; too little usable time; self-contact that shortcuts curvature.

Frequency estimates from short or discontinuous traces may be unstable.

### Special-case tuning

Inspect the browser before interpreting a summary; restrict analysis to valid continuous runs when necessary.

## Kinematics browser

Status: Ready; results viewer

Biological aim: Let the scientist inspect one recording's derived kinematics rather than relying only on summary numbers.

Use it when: A kinematics analysis folder exists and segment/time relationships need visual checking.

### Biology-driven design decisions

A browser is a scientific control: segment selection and kymograph inspection expose artifacts hidden by means.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Selected segments | Focuses curvature traces on anatomically relevant regions. |
| Recording/result set | Preserves one-to-one linkage with source analysis. |

### How the tool accomplishes the measurement

The browser loads result tables and figures, displays signed-curvature kymographs, and allows selected segment traces to be explored.

### Outputs and interpretation

Interactive views; no new biological measurements unless explicitly exported.

### Known failure modes and cautions

Missing/incomplete result files; confusing recordings; overinterpretation of visually selected segments.

### Special-case tuning

Choose segments before inspecting condition labels when exploratory selection could bias conclusions.

## Single-worm swimming analysis

Status: Ready

Biological aim: Measure swimming frequency, occupancy, amplitude, phase organization, and usable coverage from one high-resolution swimming track.

Use it when: A Track one worm CSV was acquired in swimming mode and segment-resolved swimming metrics are needed.

### Biology-driven design decisions

Swimming is analyzed from curvature, not centroid oscillation alone.

Usable coverage and contiguous runs are reported because an average frequency can conceal missing or fragmented data.

Segment amplitude and phase retain where and how the wave changes along the body.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Input swimming CSV | Ensures the correct assay mode and metadata. |
| Run/quality thresholds | Define how much continuous evidence is required for a frequency estimate. |

### How the tool accomplishes the measurement

The tool identifies valid contiguous swimming runs, estimates oscillation frequency, computes segment amplitude profiles and phase relationships, and records frame-level state/QC.

### Outputs and interpretation

Swimming summary; contiguous-run frequencies; amplitude profile; frame QC/state.

### Known failure modes and cautions

Short bouts; low FPS; blur; poor midlines; coils; mixed crawling/burrowing in the selected recording.

A whole-recording mean may be biologically misleading when modality changes.

### Special-case tuning

Use the population modality tool for mixed-population movies; split or relabel mixed single-worm bouts before combining them.

## Population swimming + modality review

Status: Experimental

Biological aim: Track many animals and quantify reviewed swimming, crawling, burrowing, and uncertain bouts independently within one movie.

Use it when: Multiple worms are visible at low magnification and population-level modality occupancy or kinematics are desired.

### Biology-driven design decisions

Identity linking uses predicted motion and flags close competing assignments.

A 25-point oriented spine replaces the earlier ellipse-axis frequency proxy.

Swimming, crawling, and burrowing use combined frequency, C/S/W curvature topology, speed, wave lag, and temporal persistence; frequency alone is insufficient.

Four-second overlapping proposals are smoothed into bouts, but every bout remains a human-review candidate.

ROIs are optional: full-frame analysis is the default; include/exclude geometry exists for assay boundaries and static artifacts.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| FPS and scale | Set frequency and physical velocity. |
| Minimum/maximum object area | Adapt segmentation to magnification, stage, and posture. |
| ROI mode: none/include/exclude | Keep full-frame default or restrict/suppress detections in oval, rectangle, or polygon regions. |
| Manual track acceptance | Controls which identities enter bout review. |
| Bout confirm/relabel/reject | Establishes the final biological modality labels. |

### How the tool accomplishes the measurement

A median background isolates moving objects; connected components are linked by constant-velocity prediction. Each mask is skeletonized and resampled to an oriented spine.

Overlapping windows combine signed midbody curvature frequency, C/S/W scores, centroid speed, posterior wave lag, collision evidence, and spine coverage. A visual player shows the original frames, spine, centroid, and trajectory before final assignment.

### Outputs and interpretation

Frame-level tracks/spines; track summaries; modality-window evidence; pending and reviewed bouts; per-modality time, bout count, speed, and frequency; ROI and analysis provenance.

### Known failure modes and cautions

Merged worms, crossings, stationary animals absorbed into the background, debris that moves, frame edges, poor skeletons, and low temporal resolution.

Burrowing and crawling frequency ranges overlap; posture and wave evidence can still be ambiguous.

Centroid-based ROI inclusion can omit a worm whose body crosses a boundary while its centroid remains outside.

### Special-case tuning

Exclude persistent debris with an ROI; include only the assay chamber when the field contains irrelevant regions.

Adjust area gates only after inspecting masks; too narrow loses posture extremes, too broad admits merges.

Retain uncertain bouts or report their fraction; do not force labels to make percentages sum neatly.

## wrMTrck (Fiji)

Status: Ready as an external Fiji plugin entry

Biological aim: Provide a familiar many-worm tracking option inside Fiji.

Use it when: The experiment matches wrMTrck assumptions and its outputs are sufficient.

### Biology-driven design decisions

The Hub exposes the established plugin without pretending it shares the Lab Tools QC/provenance model.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Plugin thresholds/settings | Adapt detection and linking to the recording; definitions depend on the installed wrMTrck version. |

### How the tool accomplishes the measurement

Run wrMTrck from Fiji using its documented workflow and preserve its settings with results.

### Outputs and interpretation

Plugin-defined trajectories and summaries.

### Known failure modes and cautions

Version sensitivity; limited integration with Lab Tools metadata; merges/crossings; threshold dependence.

### Special-case tuning

Record Fiji and plugin versions. Do not compare wrMTrck and Lab Tools outputs as if definitions were identical.

## Population basal slowing

Status: Experimental

Biological aim: Measure paired within-worm changes in velocity and bending before, during, and after OP50 lawn encounters, including repeated encounters.

Use it when: A population disperses from a release droplet toward visible food lawns and individual histories can be reconstructed.

### Biology-driven design decisions

The start ROI is a release gate: clustered animals are ignored until a first observed or inferred exit.

Tracks remain active after later re-entry and through repeated lawn encounters.

Entry uses a configurable fraction of worm area inside the lawn, not centroid crossing alone.

Pre-entry frames must satisfy an outside buffer to avoid mixing boundary contact into baseline.

Conservative tracklet stitching uses position and aligned direction and preserves every inferred join.

Missing curvature frequency does not invalidate an otherwise usable paired speed comparison.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Start and lawn ROIs | Encode the actual release geometry and each food lawn. |
| Before/after windows | Balance biological timescale against available unambiguous frames. |
| Outside buffer | Defines a clean pre-contact baseline. |
| Fraction inside for entry | Matches how much body contact constitutes biological entry. |
| Area/link/stitch gates | Adapt detection and identity continuity while limiting false merges. |
| Track and event review | Determines which identities and encounters are scientifically usable. |

### How the tool accomplishes the measurement

Bright worms are detected against a low temporal background percentile. Masks yield centroids and 25-point spines. Tracks are linked and conservatively stitched, then evaluated against release and lawn geometry.

Every entry receives paired windows, encounter order, elapsed times, cumulative prior exposure, residence time, post-exit measurements, and explicit QC reasons.

### Outputs and interpretation

Reviewed tracks and stitches; frame-level position/spine/ROI state; paired entry events; reviewed events; descriptive summary; exact ROI and acquisition metadata.

### Known failure modes and cautions

Identity ambiguity at crossings; segmentation changes on food; boundary and edge effects; insufficient pre-entry space/time; collision; repeated encounters from the same worm.

Events are repeated observations, not independent animals. Absolute speed depends on calibration.

### Special-case tuning

Shorten exploratory windows only with a documented rationale; preserve the original analysis.

Use mixed-effects/repeated-measures models for encounter histories.

Visually inspect apparent accelerations for centroid shifts caused by segmentation on OP50.

## Population orientation (plate state)

Status: Ready for identity-free population-state configuration

Biological aim: Measure orientation toward/away from a stimulus at the plate level without requiring reliable individual identities.

Use it when: The biological question concerns occupancy, angular/radial distribution, arrival, or a plate-level directional resultant.

### Biology-driven design decisions

Identity-free pixels/blobs are preferred when crowding or crossings make individual paths unreliable.

The plate, not each worm, is the inferential unit.

Stimulus, control, release positions, and scale are explicitly defined because assay geometry determines every angle and distance.

A per-worm path configuration remains gated until acquisition supports it.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Plate ID | Preserves the independent experimental unit. |
| FPS and two-point scale | Set temporal and spatial axes. |
| Stimulus/control/release positions | Define biological coordinate geometry. |
| ROIs and detection settings | Match the arena and visible population state. |

### How the tool accomplishes the measurement

Median background subtraction estimates occupancy and descriptive blobs. Radial and angular pixel distributions, arrivals, timecourses, and the plate resultant are computed without claiming persistent identity.

### Outputs and interpretation

ROI occupancy, radial/angular distributions, plate timecourse, and one plate-level resultant.

### Known failure modes and cautions

Uneven illumination, stationary animals disappearing into background, debris, crowded masks, inaccurate stimulus coordinates, and pseudo-replication.

Configuration 2 path analysis is not validated for the current framing.

### Special-case tuning

Use multiple independent plates; do not pool worms across plates as N.

Re-frame and reacquire if the question truly requires individual paths.

## Combine orientation plates

Status: Ready

Biological aim: Perform circular statistics across independent plate resultants.

Use it when: Two or more plate_resultant.csv files represent independent experimental units.

### Biology-driven design decisions

The tool combines plates rather than worms to prevent pseudo-replication.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Selected plate-resultant files | Define the independent replicates and groups entering the comparison. |

### How the tool accomplishes the measurement

The aggregator reads one resultant per plate and applies circular summaries/comparisons at the plate level.

### Outputs and interpretation

Across-plate circular statistics and combined summaries.

### Known failure modes and cautions

Too few plates; mixing non-independent plates; inconsistent stimulus geometry or acquisition; pooling incompatible conditions.

### Special-case tuning

Predefine exclusion rules at the plate level and retain each plate's original analysis folder.

# Part IV - Motor output: rhythmic programs

## Pharyngeal pumping

Status: Ready; new detector requiring manual-count validation

Biological aim: Quantify reviewed pump events only during intervals in which the pharynx is visibly scoreable.

Use it when: The pharynx/grinder is resolved and at least one relatively still, in-focus interval exists.

### Biology-driven design decisions

The user chooses a usable interval rather than allowing invisible frames to dilute the rate.

A close pharyngeal ROI localizes the motion source.

Tracking/focus/motion gates reject unusable frames, and the detection threshold remains reviewable.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| FPS | Converts events and intervals to rate and time. |
| START/END | Defines the biologically visible scoring interval. |
| Oval pharyngeal ROI | Restricts motion measurement to the intended structure. |
| Detection-threshold slider | Lets the reviewer match peaks to visually resolved pumps. |

### How the tool accomplishes the measurement

The ROI is tracked through the approved interval. Excessive motion, weak tracking, poor focus, and insufficient contrast are excluded; candidate motion peaks are displayed for threshold review.

### Outputs and interpretation

Approved interval; reviewed event times/signals; pump count; pumping rate; median interpump interval.

### Known failure modes and cautions

Head movement mimicking pumps; grinder out of focus; obstruction; low FPS; ROI drift; extending through unscoreable periods.

Automatic counts are not yet a substitute for manual validation.

### Special-case tuning

Prefer 25-40 FPS and at least 30 seconds; analyze multiple visible intervals separately rather than bridging invisibility.

## Defecation cycle analysis

Status: Experimental alpha

Biological aim: Propose and review posterior body contraction (pBoc) events and cycle cadence.

Use it when: The posterior is visible for 1-3 seconds around events and the worm axis can be defined.

### Biology-driven design decisions

Motion is decomposed into axial versus dorsoventral components because pBoc is posterior axial motion toward the head followed by recovery.

Equivalent anterior motion argues against a specific posterior contraction.

Cycle-period limits order reviewer attention but never accept, reject, or establish a biological period.

Rhythm statistics are withheld until at least ten manually accepted cycles are followed continuously.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| FPS, scale, exposure | Define temporal/physical resolution and blur. |
| Minimum/maximum plausible cycle period | Flag close candidates and long gaps for review; defaults 30-90 seconds. |
| Head and tail clicks | Define the axial direction and posterior region. |
| Manual event decisions/cycle limits | Establish the accepted event series. |

### How the tool accomplishes the measurement

The engine tracks posterior and anterior motion projected onto the body axis, proposes contraction-recovery patterns, and presents candidates plus cadence warnings.

### Outputs and interpretation

Candidate/review tables and motion evidence. Period, IDI, and IDI CV remain unavailable until validation criteria are met.

### Known failure modes and cautions

Turns, whole-body translation, focus changes, incomplete recovery, tail occlusion, short recordings, and cadence-driven confirmation bias.

### Special-case tuning

Treat cadence as a search aid only. Inspect the underlying motion around every proposed and missing event.

## Endpoint egg counting

Status: Experimental

Biological aim: Count resolved eggs in a static image with scale-aware candidate detection and mandatory correction.

Use it when: Eggs are spatially resolved and the image can be calibrated.

### Biology-driven design decisions

Expected egg dimensions are physical (approximately 50 x 30 um), so two-point calibration precedes detection.

Automatic candidates are never final; users can toggle false positives and add missed eggs.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Two-point scale calibration | Maps biological egg size to pixels. |
| Candidate settings/visual corrections | Adapt to contrast, overlap, genotype, developmental state, and debris. |

### How the tool accomplishes the measurement

The detector identifies objects compatible with calibrated egg size/shape, overlays candidates, and saves only after visual review.

### Outputs and interpretation

Reviewed egg list/count, candidate evidence, calibration, and summary.

### Known failure modes and cautions

Overlapping eggs; embryos with atypical shape; debris of similar size; blur; uneven illumination; incorrect calibration; eggs at edges.

### Special-case tuning

Use multiple focal planes or improved imaging when eggs overlap in depth; do not solve unresolved overlap by threshold tuning alone.

## Dynamic egg laying

Status: Experimental

Biological aim: Detect and review when persistent new eggs appear during a recording.

Use it when: Eggs remain visible after deposition and acquisition resolves their appearance over time.

### Biology-driven design decisions

Persistence distinguishes a newly laid egg from transient noise or a moving reflection.

Timing candidates require review because worm motion or occlusion can delay first visibility.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| FPS | Sets timing precision. |
| Two-point scale | Constrains egg size. |
| Persistence and detection settings | Balance transient rejection against missed/occluded eggs. |
| Manual candidate timing review | Defines the accepted laying event. |

### How the tool accomplishes the measurement

Frame-to-frame candidates are linked as persistent new objects. Review overlays expose first detection and persistence before saving event times.

### Outputs and interpretation

Frame QC, egg-object tracks, automatic candidates, reviewed event timing, and metadata.

### Known failure modes and cautions

Egg occluded at deposition; worm overlaps; drifting debris; illumination jumps; moving eggs; insufficient post-event duration; incorrect scale.

### Special-case tuning

Interpret first visible frame as an observation bound when deposition itself is occluded.

# Part V - Physiology: calcium and cellular activity

## RGBCaMP extractor (Fiji)

Status: Ready

Biological aim: Extract spatially registered blue, green, and red signals with body curvature and kinematics from a freely moving worm.

Use it when: A multichannel recording contains the intended indicators and the worm can be tracked and segmented.

### Biology-driven design decisions

The moving body is divided into 24 hemisegments per side so fluorescence is interpreted in anatomical coordinates.

Eigenworm-constrained midlines reduce implausible geometry.

Extraction stops at raw, QC-rich data; normalization and inference remain downstream.

Channel roles are explicit: green cytoplasmic GCaMP, red mito RCaMP/pharynx mCherry, blue ER indicator.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Channel assignment | A wrong mapping changes the biological meaning of every signal. |
| Tracking/midline parameters | Adapt to visibility while preserving plausible anatomy. |
| Calibration and acquisition metadata | Determine spatial units and saturation/bit-depth interpretation. |

### How the tool accomplishes the measurement

The Fiji plugin tracks the worm in DIC, fits the midline, divides the body into hemisegments, and extracts channel intensities, ratios, derivatives, curvature, and movement with QC fields.

### Outputs and interpretation

Per-frame, per-segment CSV used by RGBCaMP analysis.

### Known failure modes and cautions

8-bit compression; saturation; channel bleed-through; pharyngeal/head contamination; missing scale; coils; partial body; signal outside the mask.

Absolute intensity from compressed 8-bit sources is not fully quantitative.

### Special-case tuning

Prefer raw high-bit-depth recordings. Preserve filename metadata grammar and inspect saturation/QC before downstream analysis.

## RGBCaMP analysis

Status: Ready

Biological aim: Transform extraction CSVs into QC-aware relative fluorescence, spatial summaries, kinetics, coupling, and condition-level outputs.

Use it when: One or more RGBCaMP extraction CSVs exist and the question concerns calcium dynamics or calcium-behavior coupling.

### Biology-driven design decisions

dF/F0 and ratios are emphasized for 8-bit sources; absolute resting intensities remain caveated.

Frames with coil/area/size/short-length/partial/low-evidence or outside-body leakage are rejected.

Self-approach is a curvature caveat rather than a whole-frame photometry rejection.

Red and green are masked in segments 0-7 where pharyngeal mCherry/head GFP contaminate myocytes 1-8; blue remains available.

Wave propagation uses phase gradients because adjacent delays are below one frame at low sampling rates.

The animal, not segment or transient, is the inferential unit.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Input CSV/folder | Defines one recording or batch. |
| Filename metadata | Encodes genotype, age, RNAi target, control, and flagged quality. |
| QC policy | Controls frame retention; changes must be reported. |
| Channel/region/metric selection | Matches the biological hypothesis and known contamination. |
| Grouping/statistical choices | Must respect animal-level replication. |

### How the tool accomplishes the measurement

The pipeline loads and QC-filters data, computes dF/F0 and ratios, summarizes reliable body regions, detects transients, estimates release/reuptake, coupling, intersignal timing, phase-gradient waves, and cycle averages.

Condition statistics operate on per-worm summaries using nonparametric effect sizes and FDR; mixed models are the appropriate extension for nested datasets.

### Outputs and interpretation

QC report; per-worm/segment summaries; kymographs; kinetics; region split; contraction state; coupling; wave propagation; cycle averages; condition statistics.

### Known failure modes and cautions

Saturation, 8-bit sources, incorrect channel mapping, filename metadata not parsing, missing scale, low coherence, decay fits at bounds, too few animals, and pseudoreplication.

Head-region green/red metrics are unreliable by design and masked.

### Special-case tuning

Report phase-gradient speed only with meaningful coherence (approximately >=0.5).

Treat decay constants pinned at the 20-second bound as rejected.

Rename future files consistently: genotype_day_RNAi_condition.csv.

## RGBCaMP browser

Status: Ready; results viewer

Biological aim: Inspect recording-level calcium, kinematics, QC, and derived figures before comparison.

Use it when: An RGBCaMP analysis folder exists.

### Biology-driven design decisions

Interactive inspection prevents summary statistics from hiding saturation, missing regions, rejected frames, or desynchronized signals.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Recording/result selection | Links views to the intended animal. |
| Channel/metric/segment view | Lets the scientist inspect the relevant biological signal. |

### How the tool accomplishes the measurement

The browser reads output tables and figures and organizes recording QC, timecourses, spatial patterns, and derived metrics.

### Outputs and interpretation

Interactive review; no independent replication is created by exploring many segments.

### Known failure modes and cautions

Incomplete result folders; visual cherry-picking; ignoring QC warnings.

### Special-case tuning

Define primary channels/regions before condition comparison.

## Neuron tracker

Status: Ready

Biological aim: Track an anterior sensory neuron soma and the worm's body orientation through a movie.

Use it when: The soma is visible and its position relative to the moving animal is the biological measurement.

### Biology-driven design decisions

The user marks several points inside the soma and outlines the worm because cell and body identity require anatomical supervision.

Neuron position is interpreted with body orientation, not as an image-space centroid alone.

Flagged frames can be manually repaired.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Soma clicks | Initialize cell size/location. |
| Worm outline | Establish body reference and orientation. |
| Tracking/QC corrections | Repair loss, ambiguity, or outline failure. |
| FPS, scale, exposure | Set temporal and physical interpretation. |

### How the tool accomplishes the measurement

The tracker follows the soma and worm mask, records provenance for automatic and corrected frames, and exports neuron/body geometry through time.

### Outputs and interpretation

Neuron trajectory, body orientation, QC/provenance, and review views.

### Known failure modes and cautions

Cell disappears, neighboring fluorescent objects, photobleaching, body overlap, focus loss, ambiguous anterior anatomy, and outline clipping.

### Special-case tuning

Use manual correction for isolated errors; reacquire when the soma is unresolved for extended periods.

## AFD_MTP (Fiji)

Status: Ready; Fiji companion

Biological aim: Provide a Fiji implementation of anterior sensory-neuron/body tracking.

Use it when: The scientist needs the established Fiji workflow or comparison with prior AFD_MTP analyses.

### Biology-driven design decisions

Maintaining a Fiji route supports legacy data and direct stack interaction; outputs should not be assumed identical to the Python tracker.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Fiji tracking parameters and manual corrections | Adapt cell/body tracking to the recording and plugin version. |

### How the tool accomplishes the measurement

The plugin tracks the fluorescent neuron and body reference in Fiji and exports its measurements.

### Outputs and interpretation

Plugin-specific neuron/body tracking outputs.

### Known failure modes and cautions

Fiji/plugin version differences; gap handling; cell loss; competing objects; calibration errors.

### Special-case tuning

Record the plugin version and avoid mixing implementations within an experiment without a parity study.

# Part VI - Anatomy and morphology

## Myocyte morphometry (Fiji)

Status: Ready

Biological aim: Measure striated myocyte shape and actin-fiber waviness.

Use it when: Fluorescence resolves myocyte boundaries/fibers and the question concerns structural degeneration.

### Biology-driven design decisions

Shape and fiber waviness are retained as interpretable features rather than collapsed immediately into one score.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| ROI/segmentation thresholds | Adapt to fluorescence, magnification, and tissue quality. |
| Scale | Converts morphology to physical units. |

### How the tool accomplishes the measurement

The Fiji macro segments selected muscle structures and computes geometric and waviness measurements.

### Outputs and interpretation

Per-object morphometry and visual segmentation evidence.

### Known failure modes and cautions

Uneven staining; saturation; out-of-focus fibers; overlapping structures; inconsistent ROI placement; threshold dependence.

### Special-case tuning

Blind scorers to condition and use consistent anatomical sampling across animals.

## Nonstriated muscle degeneration

Status: Experimental

Biological aim: Quantify tissue-specific structural features in pharyngeal, uterine, somatointestinal, or anal-depressor muscle.

Use it when: A raw fluorescence image, calibration, tissue ROI, and anatomical orientation are available.

### Biology-driven design decisions

Separate tissue modes recognize different architectures and force directions.

The anal-depressor mode requires proximal attachment and distal insertion clicks and reports a force-vector angle in worm coordinates.

Orientation defaults may persist for convenience, but per-image provenance is exported.

The composite damage score is deliberately blank until WT, dystrophic, and rescue reference sets calibrate it.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Tissue mode | Selects biologically appropriate features and geometry. |
| Scale calibration | Converts dimensions to physical units. |
| Tissue ROI/segmentation controls | Define the anatomical structure and accommodate staining variation. |
| Body orientation | Defines worm coordinates and directional signs. |
| Attachment/insertion clicks | Define anal-depressor force-vector geometry. |

### How the tool accomplishes the measurement

The tool segments the chosen tissue inside a user-defined ROI, computes interpretable structural/geometric features, and saves an overlay plus acquisition/orientation provenance.

### Outputs and interpretation

Segmentation overlay; tissue-specific morphology features; force-vector geometry where applicable; no uncalibrated composite damage score.

### Known failure modes and cautions

Wrong tissue mode; orientation reversal; saturated or uneven signal; incomplete ROI; ambiguous attachments; segmentation of background or adjacent tissue.

A future composite score could overfit if calibrated on too few reference animals.

### Special-case tuning

Analyze raw component features until reference calibration is sufficiently broad; keep orientation evidence with every image.

# Part VII - Acquisition and utilities

## Probe a movie

Status: Ready

Biological aim: Determine what a source file or image sequence contains and whether its technical properties suit behavioral or fluorescence analysis.

Use it when: The format, frame count, dimensions, codec, bit depth, or metadata are uncertain.

### Biology-driven design decisions

A preflight tool prevents silent analysis of the wrong temporal or intensity representation.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Selected video/stack/folder | Defines the source to inspect. |

### How the tool accomplishes the measurement

The probe reads the container or image sequence and reports accessible acquisition/format properties without altering the source.

### Outputs and interpretation

Human-readable technical report used to plan conversion or analysis.

### Known failure modes and cautions

Missing container metadata; variable frame rate; codec libraries; a file reporting nominal FPS that differs from effective timestamps.

### Special-case tuning

Verify critical acquisition settings against microscope/camera records, not the container alone.

## Convert for Fiji

Status: Ready

Biological aim: Create a clean Fiji-readable TIFF stack from a movie or image source.

Use it when: Fiji cannot open the source reliably or a standardized stack is needed.

### Biology-driven design decisions

Conversion is treated as a derivative, not a replacement for raw data.

Optional trimming, frame stepping, and spatial scaling are exposed because file size and temporal/spatial resolution trade off against biological resolvability.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Start/stop frame | Trim to the relevant interval without changing source. |
| Frame step | Reduce temporal density; this also reduces resolvable frequency. |
| Spatial scale percent | Reduce size; this also reduces anatomical detail. |
| Output destination | Keeps the derivative separate from raw data. |

### How the tool accomplishes the measurement

The converter decodes frames, applies requested sampling/scaling, and writes a clean TIFF stack.

### Outputs and interpretation

Converted stack and conversion summary.

### Known failure modes and cautions

Loss of temporal resolution from stepping; loss of spatial detail from scaling; altered bit depth; codec decode differences; large output files.

### Special-case tuning

Never downsample before deciding the fastest biological event and smallest structure that must remain resolvable.

## Install AGVGLab Fiji menu

Status: Ready utility

Biological aim: Install the lab's Fiji tools into a consistent Plugins > AGVGLab menu.

Use it when: A lab computer needs the Fiji integrations installed or refreshed.

### Biology-driven design decisions

Centralized menu installation reduces student dependence on dragging scripts and improves version consistency.

### User-adjustable variables and why they exist

| Variable or choice | Why it is exposed |
| --- | --- |
| Fiji installation location | Targets the correct local Fiji instance. |

### How the tool accomplishes the measurement

The installer copies/registers the supplied Fiji tools into the expected menu structure.

### Outputs and interpretation

Installed menu entries; no biological measurements.

### Known failure modes and cautions

Multiple Fiji installations; permissions; stale older plugins; Java/ImageJ version differences.

### Special-case tuning

After an update, confirm which Fiji executable the Hub uses and archive the plugin version with results.

# Part VIII - Validation, statistics, troubleshooting, and maintenance

## Validation levels

| Level | Meaning | Permitted claim |
| --- | --- | --- |
| Computational regression | Known synthetic or fixture input produces expected software output | The implementation behaves as tested |
| Technical validation | Agreement with manual scoring or a reference method across representative recordings | The measurement is technically credible under tested conditions |
| Biological validation | Expected and novel phenotypes are evaluated across animals, conditions, and confounds | The readout supports biological inference in the validated domain |
| Publication use | Methods, QC, exclusions, replication, and version are fully reported | Results are reproducible and interpretable by others |

Experimental label An experimental tool may be useful and regression-tested while still lacking broad technical or biological validation. The label is a scientific boundary, not a cosmetic warning.

## Correct units of inference

One worm remains one animal even when it contributes many frames, segments, transients, or lawn encounters.

One plate remains one independent orientation assay even when it contains many worms.

Repeated events require paired, repeated-measures, hierarchical, or mixed-effects analysis.

Technical repeats and reanalyses of one recording do not increase biological N.

Report exclusions and uncertain fractions by condition; QC itself can reveal a phenotype or acquisition bias.

## General troubleshooting sequence

Confirm the source: correct file, frame order, channels, FPS, scale, exposure, and bit depth.

Inspect raw frames before changing thresholds.

Check whether the biological feature is visibly resolvable.

Inspect segmentation/midline/track/ROI overlays.

Identify whether failure is detection, identity, anatomy, timing, calibration, or inference.

Change one exposed variable at a time and save the changed metadata.

Re-run a known control or fixture after modifying code or defaults.

If the needed evidence is absent, reacquire rather than tuning indefinitely.

## Minimum methods reporting

Lab Tools installer/manual version and tool name/status.

Biological preparation, strain, age, condition, temperature, assay geometry, and experimental unit.

Microscope/camera, objective, FPS, scale, exposure, bit depth, compression, and recording duration.

All non-default thresholds, windows, buffers, modes, ROIs, anatomical orientation, and exclusion rules.

Automated candidate count, reviewed accepted/rejected/uncertain count, and QC retention.

Definition of every primary metric and the statistical model at the correct unit of inference.

## Maintaining this manual as tools evolve

Give every release a version and date.

Update the Hub registry description and entry requirements.

Update the tool chapter's biological aim and 'use when' boundary.

Record any algorithmic decision that changes what can be detected or compared.

Document every new user-adjustable variable and why it cannot be fixed universally.

Update outputs, provenance fields, known failure modes, validation status, and regression tests.

Render and visually inspect the revised manual before distribution.

## Glossary

| Term | Meaning in this ecosystem |
| --- | --- |
| Candidate | An automated proposal awaiting QC or human review |
| Reviewed result | A candidate set altered or accepted by an identified review workflow |
| ROI | Saved spatial geometry that defines or filters the biological field |
| Provenance | Acquisition, settings, software version, and manual decisions needed to reconstruct a result |
| Coverage | The fraction/duration of data that supports a measurement |
| Tracklet stitch | An auditable inferred continuation across a short detection gap |
| Uncertain | Evidence is insufficient or conflicting; not a fourth biological behavior by default |
| Experimental tool | Implemented and testable, but not yet broadly validated for unattended biological inference |

## Source-of-truth note

This manual describes the staged Lab Hub v9 registry and implementation snapshot. Where a user interface, exported metadata file, or current source code differs from this manual, pause the analysis and reconcile the software/manual versions before interpreting results.